SLIP/TRIP/FALL

HAZARD IDENTIFICATION

FOR SCHOOLS

| Y | N | General Work Environment | Comments |
| --- | --- | --- | --- |
|  |  | Is a documented, functioning housekeeping program in place? |  |
|  |  | Are all school sites clean, sanitary, and orderly? |  |
|  |  | Tripping Hazards are eliminated? |  |
|  |  | Carpeting is in good condition and repair? |  |
|  |  | Are walking surfaces kept dry or is appropriate means taken to assure the surfaces are slip-resistant? |  |
|  |  | Are all spilled hazardous materials or liquids cleaned up immediately and according to proper procedures? |  |
|  |  | Is combustible scrap, debris and waste stored safely and removed from the school properly? |  |
|  |  | Are covered metal waste cans used for oily and paint-soaked waste? |  |
| Y | N | Walkways | Comments |
|  |  | Are aisles and passageways kept clear? |  |
|  |  | Are aisles and walkways marked as appropriate? |  |
|  |  | Are wet surfaces covered with non-slip materials? |  |
|  |  | Are holes in the floor, sidewalk or other walking surface repaired properly, covered or otherwise made safe? |  |
|  |  | Is there safe clearance for walking in aisles where motorized or mechanical handling equipment is operating? |  |
|  |  | Are materials or equipment stored in such a way that sharp projectives will not interfere with the walkway? |  |
|  |  | Are spilled materials cleaned up immediately? |  |
|  |  | Are changes of direction or elevation readily identifiable? |  |
|  |  | Are aisles or walkways that pass near moving or operating machinery, welding operations or similar operations arranged so employees will not be subjected to potential hazards? |  |
|  |  | Is adequate headroom provided for the entire length of any aisle or walkway? |  |
|  |  | Are standard guardrails provided wherever aisle or walkway surfaces are elevated more than 30 inches above any adjacent floor or the ground? |  |
| Y | N | Floor and Wall Openings | Comments |
|  |  | Are floor openings guarded by a cover, a guardrail, or equivalent on all sides (except at entrance to stairways or ladders)? |  |
|  |  | Are toeboards installed around the edges of permanent floor openings (where persons may pass below the opening)? |  |
|  |  | Are skylight screens of such construction and mounting that they will withstand a load of at least 200 pounds? |  |
|  |  | Is the glass in the windows, doors, glass walls, etc., which are subject to human impact, of sufficient thickness and type for the condition of use? |  |
|  |  | Are grates or similar type covers over floor openings such as floor drains of such design that foot traffic or rolling equipment will not be affected by the grate spacing? |  |
|  |  | Are unused portions of service pits and pits not actually in use either covered or protected by guardrails or equivalent? |  |
|  |  | Are manhole covers, trench covers and similar covers, plus their supports designed to carry a truck rear axle load of at least 20,000 pounds when located in roadways and subject to vehicle traffic? |  |
|  |  | Are floor or wall openings in fire resistive construction provided with doors or covers compatible with the fire rating of the structure and provided with a self-closing feature when appropriate? |  |
| Y | N | Stairs and Stairways | Comments |
|  |  | Are standard stair rails or handrails on all stairways having four or more risers? |  |
|  |  | Are all stairways at least 22 inches wide? |  |
|  |  | Do stairs have landing platforms not less than 30 inches in the direction of travel and extend 22 inches in width at every 12 feet or less of vertical rise? |  |
|  |  | Do stairs angle no more than 50 and no less than 30 degrees? |  |
|  |  | Are step risers on stairs uniform from top to bottom? |  |
|  |  | Are steps on stairs and stairways designed or provided with a surface that renders them slip resistant? |  |
|  |  | Are stairway handrails located between 30 and 34 inches above the leading edge of stair treads? |  |
|  |  | Do stairway handrails have at least 3 inches of clearance between the handrails and the wall or surface they are mounted on? |  |
|  |  | Where doors or gates open directly on a stairway, is there a platform provided so the swing of the door does not reduce the width of the platform to less than 21 inches? |  |
|  |  | Where stairs or stairways exit directly into any area where vehicles may be operated, are adequate barriers and warnings provided to prevent employees stepping into the path of traffic? |  |
|  |  | Proper illumination on stairs? |  |
|  |  | Do stairway landings have a dimension measured in the direction of travel, at least equal to the width of the stairway? |  |
| Y | N | Elevated Surfaces | Comments |
|  |  | Are signs posted, when appropriate, showing the elevated surface load capacity? |  |
|  |  | Are surfaces elevated more than 30 inches above the floor or ground provided with standard guardrails? |  |
|  |  | Are all elevated surfaces (beneath which people or machinery could be exposed to falling objects) provided with standard 4-inch toe-boards? |  |
|  |  | Is a permanent means of access and egress provided to elevated storage and work surfaces? |  |
|  |  | Is required headroom provided where necessary? |  |
|  |  | Is material on elevated surfaces piled, stacked or racked in a manner to prevent it from tipping, falling, collapsing, rolling or spreading? |  |
|  |  | Are dock boards or bridge plates used when transferring materials between docks and trucks or rail cars? |  |
| Y | N | Ladders | Comments |
|  |  | Ladders free of cracks, loose rungs and sharp edges? |  |
|  |  | All defective ladders are prohibited from use? |  |
|  |  | Defective ladders have been tagged “Dangerous- Do Not Use?” |  |
|  |  | The use of the top step is prohibited? |  |
|  |  | Portable ladders are used in compliance with OSHA regulations? |  |
|  |  | Portable step ladder height 20-feet or less? |  |
|  |  | Portable step ladder equipped with a metal spreader or locking device? |  |
|  |  | Single ladder height 30-feet or less? |  |
|  |  | Extension ladder height 60-feet or less? |  |
|  |  | Ladders free of dirt and grease? |  |
|  |  | Ladders have slip resistant grips? |  |
|  |  | Employees are following safe standards and procedures? |  |